## Sheet1
Specific Enthalpy Calculator Excel Worksheet
| Water / Steam Temp. / Press. In | [5 empty] | Water / Steam Temp. / Press. Out
| Enter value (Only one value) | [5 empty] | Enter value (Only one value)
| Water Temp. |  | Steam Temp. |  | Steam press. |  | Water Temp. |  | Steam Temp. |  | Steam press.
| 7 | °C | 0 | °C | x | Bar G | 70 | °C | 0 | °C | x | Bar G
2021-02-19
| Specific Enthalpy In |  |  | 29 | kJ/kg |  | Specific Enthalpy Out |  |  | 293.0846 | kJ/kg | [13 empty] | Tabell 1 for vann (Temperatur) |  |  |  |  | Tabell 2 for vann (Temperatur) |  |  |  |  | Tabell 1 for damp (Temperatur) |  |  |  |  | Tabell 2 for damp (Temperatur) |  |  |  |  | Tabell 1 for damp (Trykk) |  |  |  |  | Tabell 2 for damp (Trykk) |  |  |  |  | Tabell 1 for trykk til temperatur |  |  |  |  | Tabell 1 for temperatur til trykk
| Added / Removed Energy |  |  | 264.0846 | kJ/kg |  | Please enter X i the area for steam-pressure when you | [18 empty] | Temp. inn |  | Resultat |  |  | Temp. Inn |  | Resultat |  |  | Temp. inn |  | Resultat |  |  | Temp. inn |  | Resultat |  |  | Trykk inn |  | Resultat |  |  | Trykk inn |  | Resultat |  |  | Trykk inn |  | Resultat |  |  | Temp. inn |  | Resultat
| Status Temp/Press Out |  |  | -0.6996 | Bar G |  | are useing temperatures. This has to do with pressure- | [18 empty] | 7 | °C | 29 | kJ/kg |  | 70 | °C | 293.0846 | kJ/kg |  | 0 | °C | 0 | kJ/kg |  | 0 | °C | 0 | kJ/kg |  | x | Bar G | 2084 | kJ/kg |  | x | Bar G | 2084 | kJ/kg |  | x | Bar G | 374.15 | °C |  | 70 | °C | -0.6996 | Bar G
| Water / Steam Quantity |  |  | 13.6 |  | kg | definition in Bar G, -1,01 - 220,2 Bar G | [18 empty] | 0 | % |  |  |  | 48.0769 | % |  |  |  | 0 | % |  |  |  | 0 | % |  |  |  | #VALUE! | % |  |  |  | #VALUE! | % |  |  |  | #VALUE! | % |  |  |  | 48.0769 | %
| Added / Removed Energy |  |  | 3591.5508 |  | kJ | The calculator is based on Mollier's Scale for specific energy in water/steam.
|  |  |  | 0.99765 |  | kWh | All use of this calculator is on user's own responsibility.
| Test-edition, duration to: |  |  |  | 2022-12-31 |  | Copyright © 2010 - Kenneth Skailand, Phone: (+47) 917 93211 www.mobilcrane.com | [14 empty] | Spesifikk Enthalpi |  |  |  | Nedre verdier |  | Øvre verdier |  |  | Nedre verdier |  | Øvre verdier |  |  | Nedre verdier |  | Øvre verdier |  |  | Nedre verdier |  | Øvre verdier |  |  | Nedre verdier |  | Øvre verdier |  |  | Nedre verdier |  | Øvre verdier |  |  | Nedre verdier |  | Øvre verdier |  |  | Nedre verdier |  | Øvre verdier
[17 empty] | Absolutt trykk |  |  | Overtrykk | Temperatur | Væske | Fordamping | Dampform |  | Temp | kJ/kg | Temp | kJ/kg |  | Temp | kJ/kg | Temp | kJ/kg |  | Temp | kJ/kg | Temp | kJ/kg |  | Temp | kJ/kg | Temp | kJ/kg |  | Trykk | kJ/kg | Trykk | kJ/kg |  | Trykk | kJ/kg | Trykk | kJ/kg |  | Trykk | Temp | Trykk | Temp |  | Temp | Trykk | Temp | Trykk
[17 empty] | Kg/cm2 | Bar | kPa, kN/m2 | Bar G | Deg. C | kj/kg | kj/kg | kj/kg |  | 7 | 29 | 17.5 | 73.5 |  | 67.5 | 282.7 | 72.7 | 304.3 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 67.5 | 0.28 | 72.7 | 0.35
| Vanntemp |  | Damptemp |  | Damptrykk |  | Vanntemp |  | Damptemp |  | Damptrykk | [5 empty] | 0.0062325 | 0.006112 | 0.6112 | -1.0071 | 0.01 | 0.0006 | 2501 | 2501 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
Sperre mot flere inn | 1 | Gr.C. | 0 | Gr.C. | 0 | Bar G | 1 | Gr.C. | 0 | Gr.C. | 0 | Bar G |  |  |  |  | 0.0081577 | 0.008 | 0.8 | -1.0052 | 3.8 | 15.8 | 2493 | 2509 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
Sperre mot for høy | 1 | Gr.C. | 1 | Gr.C. | 1 | Bar G | 1 | Gr.C. | 1 | Gr.C. | 1 | Bar G |  |  |  |  | 0.010197 | 0.01 | 1 | -1.0032 | 7 | 29 | 2485 | 2514 | 7 | 7 | 29 | 17.5 | 73.5 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
Sperre mot for lav | 1 | Gr.C. | 1 | Gr.C. | 1 | Bar G | 1 | Gr.C. | 1 | Gr.C. | 1 | Bar G |  |  |  |  | 0.020394 | 0.02 | 2 | -0.99325 | 17.5 | 73.5 | 2460 | 2534 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
Felles h/l | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 | [5 empty] | 0.050986 | 0.05 | 5 | -0.96325 | 32.9 | 137.8 | 2424 | 2562 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[15 empty] | 1 |  | 0.10197 | 0.1 | 10 | -0.91325 | 45.8 | 191.8 | 2393 | 2585 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
Enthalpi | 29 |  | 0 |  | 0 | [7 empty] | 29 | 1 | 1 |  | 0.20394 | 0.2 | 20 | -0.81325 | 60.1 | 251.5 | 2358 | 2610 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[7 empty] | 293.0846 |  | 0 |  | 0 |  | 293.0846 | 1 | 1 |  | 0.28552 | 0.28 | 28 | -0.73325 | 67.5 | 282.7 | 2340 | 2623 | 7 | 0 | 0 | 0 | 0 | 70 | 67.5 | 282.7 | 72.7 | 304.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 67.5 | 0.28 | 72.7 | 0.35
| 0 |  | 1 |  |  |  | 0 |  | 1 |  |  |  | 264.0846 | 1 | 1 |  | 0.3569 | 0.35 | 35 | -0.66325 | 72.7 | 304.3 | 2327 | 2632 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
| 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | [5 empty] | 0.45887 | 0.45 | 45 | -0.56325 | 78.7 | 329.6 | 2312 | 2642 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 0.56084 | 0.55 | 55 | -0.46325 | 83.7 | 350.6 | 2299 | 2650 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
| 1 |  |  | 1 |  |  | 1 | [9 empty] | 0.66282 | 0.65 | 65 | -0.36325 | 88 | 368.6 | 2288 | 2657 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 0.76479 | 0.75 | 75 | -0.26325 | 91.8 | 384.5 | 2279 | 2663 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
| Temp |  | Temp |  | Trykk |  |  |  | Temp |  | Trykk | [5 empty] | 0.86676 | 0.85 | 85 | -0.16325 | 95.2 | 398.6 | 2270 | 2668 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
| 70 |  | 0 |  | x |  |  |  | 374.15 |  | -0.6996 | [5 empty] | 0.96873 | 0.95 | 95 | -0.06325 | 98.2 | 411.5 | 2262 | 2673 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
|  |  | 70 | [13 empty] | 1.0197 | 1 | 100 | -0.01325 | 99.6 | 417.5 | 2258 | 2675 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 1.0333 | 1.0133 | 101.33 | 5e-05 | 100 | 419.1 | 2257 | 2676 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 1.1217 | 1.1 | 110 | 0.08675 | 102.3 | 428.8 | 2251 | 2680 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 1.3256 | 1.3 | 130 | 0.28675 | 107.1 | 449.2 | 2238 | 2687 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 1.5296 | 1.5 | 150 | 0.48675 | 111.4 | 467.1 | 2226 | 2693 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 1.7335 | 1.7 | 170 | 0.68675 | 115.2 | 483.2 | 2216 | 2699 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 1.9375 | 1.9 | 190 | 0.88675 | 118.6 | 497.8 | 2206 | 2704 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 2.2434 | 2.2 | 220 | 1.1868 | 123.3 | 517.6 | 2193 | 2711 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 2.6513 | 2.6 | 260 | 1.5868 | 128.7 | 540.9 | 2177 | 2718 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 2.8552 | 2.8 | 280 | 1.7867 | 131.2 | 551.4 | 2170 | 2722 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 3.2631 | 3.2 | 320 | 2.1867 | 135.8 | 570.9 | 2157 | 2728 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 3.671 | 3.6 | 360 | 2.5868 | 139.9 | 588.5 | 2144 | 2733 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 4.0789 | 4 | 400 | 2.9867 | 143.1 | 604.7 | 2133 | 2738 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 4.4868 | 4.4 | 440 | 3.3868 | 147.1 | 619.6 | 2122 | 2742 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 4.8946 | 4.8 | 480 | 3.7867 | 150.3 | 633.5 | 2112 | 2746 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 5.0986 | 5 | 500 | 3.9867 | 151.8 | 640.1 | 2107 | 2748 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 5.6084 | 5.5 | 550 | 4.4867 | 155.5 | 655.8 | 2096 | 2752 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 6.1183 | 6 | 600 | 4.9867 | 158.8 | 670.4 | 2085 | 2756 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 6.6282 | 6.5 | 650 | 5.4867 | 162 | 684.1 | 2075 | 2759 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 7.138 | 7 | 700 | 5.9867 | 165 | 697.1 | 2065 | 2762 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 7.6479 | 7.5 | 750 | 6.4867 | 167.8 | 709.3 | 2056 | 2765 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 8.1577 | 8 | 800 | 6.9867 | 170.4 | 720.9 | 2047 | 2768 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 8.6676 | 8.5 | 850 | 7.4867 | 172.9 | 732 | 2038 | 2770 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 9.1774 | 9 | 900 | 7.9867 | 175.4 | 742.6 | 2030 | 2772 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 9.6873 | 9.5 | 950 | 8.4868 | 177.7 | 752.8 | 2021 | 2774 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 10.1972 | 10 | 1000 | 8.9868 | 179.9 | 762.6 | 2014 | 2776 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 10.707 | 10.5 | 1050 | 9.4868 | 182 | 772 | 2006 | 2778 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 11.7267 | 11.5 | 1150 | 10.4868 | 186 | 790 | 1991 | 2781 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 12.7465 | 12.5 | 1250 | 11.4868 | 189.8 | 807 | 1977 | 2784 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 13.2563 | 13 | 1300 | 11.9868 | 191.6 | 815 | 1971 | 2785 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 15.2957 | 15 | 1500 | 13.9868 | 198.3 | 845 | 1945 | 2790 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 16.3155 | 16 | 1600 | 14.9868 | 201.4 | 859 | 1933 | 2792 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 18.3549 | 18 | 1800 | 16.9868 | 207.1 | 885 | 1910 | 2795 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 20.3943 | 20 | 2000 | 18.9868 | 212.4 | 909 | 1889 | 2797 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 21.414 | 21 | 2100 | 19.9868 | 214.9 | 920 | 1878 | 2798 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 23.4535 | 23 | 2300 | 21.9868 | 219.6 | 942 | 1858 | 2800 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 24.4732 | 24 | 2400 | 22.9868 | 221.8 | 952 | 1849 | 2800 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 26.5126 | 26 | 2600 | 24.9868 | 226 | 972 | 1830 | 2801 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 27.5323 | 27 | 2700 | 25.9868 | 228.1 | 981 | 1821 | 2802 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 29.5718 | 29 | 2900 | 27.9868 | 232 | 1000 | 1803 | 2802 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 30.5915 | 30 | 3000 | 28.9868 | 233.8 | 1008 | 1794 | 2802 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 32.6309 | 32 | 3200 | 30.9868 | 237.4 | 1025 | 1779 | 2802 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 34.6704 | 34 | 3400 | 32.9868 | 240.9 | 1042 | 1760 | 2802 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 36.7098 | 36 | 3600 | 34.9868 | 244.2 | 1058 | 1744 | 2802 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 38.7492 | 38 | 3800 | 36.9868 | 247.3 | 1073 | 1728 | 2801 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 40.7886 | 40 | 4000 | 38.9868 | 250.3 | 1087 | 1713 | 2800 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 47.8655 | 46.94 | 4694 | 45.9267 | 260 | 1134.3 | 1663.1 | 2797.4 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 56.1354 | 55.05 | 5505 | 54.0367 | 270 | 1184.5 | 1605 | 2789.5 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 65.4556 | 64.19 | 6419 | 63.1767 | 280 | 1236.1 | 1542.6 | 2778.7 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 75.9179 | 74.45 | 7445 | 73.4368 | 290 | 1289.3 | 1475.6 | 2764.9 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 87.614 | 85.92 | 8592 | 84.9068 | 300 | 1344.2 | 1403.8 | 2748 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 101.9716 | 100 | 10000 | 98.9868 | 310.9607 | 1408.0511 | 1319.6789 | 2727.73 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 122.3659 | 120 | 12000 | 118.9868 | 324.6456 | 1491.7704 | 1197.8427 | 2689.6131 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 142.7603 | 140 | 14000 | 138.9868 | 336.6415 | 1571.6387 | 1070.7309 | 2642.3696 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 163.1546 | 160 | 16000 | 158.9868 | 347.3284 | 1650.5377 | 934.3366 | 2584.8743 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 183.5489 | 180 | 18000 | 178.9868 | 356.9567 | 1734.8185 | 779.0729 | 2513.8914 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 193.7461 | 190 | 19000 | 188.9868 | 361.4307 | 1778.6523 | 691.9725 | 2470.6248 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 203.9432 | 200 | 20000 | 198.9868 | 365.7017 | 1826.4742 | 591.8791 | 2418.3533 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 209.0418 | 205 | 20500 | 203.9868 | 367.7648 | 1854.0107 | 532.293 | 2386.3037 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 214.1404 | 210 | 21000 | 208.9868 | 369.7845 | 1886.2526 | 461.3328 | 2347.5854 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 219.239 | 215 | 21500 | 213.9868 | 371.7587 | 1929.481 | 364.9886 | 2294.4696 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 222.2981 | 218 | 21800 | 216.9868 | 372.9242 | 1967.2413 | 280.7773 | 2248.0186 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 223.3179 | 219 | 21900 | 217.9868 | 373.3083 | 1989.1875 | 232.6348 | 2221.8223 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 224.3376 | 220 | 22000 | 218.9868 | 373.7 | 2008 | 229 | 2178 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0
[17 empty] | 225.5612 | 221.2 | 22120 | 220.1867 | 374.15 | 2084 | 0 | 2084 | 7 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 70 | 0 | 0 | 0 | 0